## Measurands
Program | MeasurandName | MeasurandFullName | MeasurandNumber | Unit | MethodGroupCode | MethodGroepName | Range1 | Range2 | Range3 | ConstError | PropError
BIMEP | Ash | Ash | 80 | % (m/m) | GEN | General Analysis | 0.2 - 95 |  |  | 0.3 | 2
BIMEP | Moisture | Moisture | 81 | % (m/m) | GEN | General Analysis | 2 - 16 |  |  | 0.5 | 10
BIMEP | Calorific Value (gross) | Calorific Value (gross) | 2 | MJ/kg | GEN | General Analysis | 3 - 25 |  |  | 0.3 | 2
BIMEP | Volatile Matter | Volatile Matter | 82 | % (m/m) | GEN | General Analysis | 20 - 90 |  |  | 1.5 | 0
BIMEP | Carbon (C) | Carbon (C) | 83 | % (m/m) | ELEM | Elementary Analysis | 10 - 55 |  |  | 1 | 4
BIMEP | Hydrogen (H) | Hydrogen (H) | 84 | % (m/m) | ELEM | Elementary Analysis | 1 - 7 |  |  | 0.3 | 2.5
BIMEP | Nitrogen (N) | Nitrogen (N) | 85 | % (m/m) | ELEM | Elementary Analysis | 0.1 - 12 |  |  | 0.1 | 7.5
BIMEP | Oxygen (O) | Oxygen (O) | 86 | % (m/m) | ELEM | Elementary Analysis | 5 - 50 |  |  | 1.5 | 5
BIMEP | Cl | Chloride | 15 | g/kg | ELEM | Elementary Analysis | 0.05 - 8 |  |  | 0.2 | 20
BIMEP | S | Sulpher | 14 | g/kg | ELEM | Elementary Analysis | 0.1 - 20 |  |  | 0.5 | 17.5
BIMEP | Cl | Chloride | 23 | g/kg | WS | Water Soluble Elements
BIMEP | K | Potassium | 21 | g/kg | WS | Water Soluble Elements
BIMEP | Na | Sodium | 22 | g/kg | WS | Water Soluble Elements
BIMEP | Al | Aluminum | 31 | g/kg | MAJOR | Major Elements | 0 - 50 |  |  | 0.1 | 17.5
BIMEP | Ca | Calcium | 32 | g/kg | MAJOR | Major Elements | 0 - 100 |  |  | 0.5 | 12.5
BIMEP | Fe | Iron | 33 | g/kg | MAJOR | Major Elements | 0 - 100 |  |  | 0 | 22.5
BIMEP | K | Potassium | 34 | g/kg | MAJOR | Major Elements | 0 - 100 |  |  | 0.5 | 12.5
BIMEP | Mg | Magnesium | 35 | g/kg | MAJOR | Major Elements | 0 - 15 |  |  | 0.1 | 20
BIMEP | Na | Sodium | 36 | g/kg | MAJOR | Major Elements | 0 - 15 |  |  | 0.1 | 20
BIMEP | P | Phosphorus | 37 | g/kg | MAJOR | Major Elements | 0 - 50 |  |  | 0 | 22.5
BIMEP | Si | Silicon | 38 | g/kg | MAJOR | Major Elements | 0 - 250 |  |  | 2 | 17.5
BIMEP | As | Arsenic | 51 | mg/kg | MINOR | Minor Elements | 0 - 15
BIMEP | Ba | Barium | 52 | mg/kg | MINOR | Minor Elements | 0 - 750 |  |  | 3 | 22.5
BIMEP | Be | Beryllium | 53 | mg/kg | MINOR | Minor Elements
BIMEP | Cd | Cadmium | 54 | mg/kg | MINOR | Minor Elements | 0 - 2.5
BIMEP | Co | Cobalt | 55 | mg/kg | MINOR | Minor Elements | 0 - 10 |  |  | 0.6 | 25
BIMEP | Cr | Chromium | 56 | mg/kg | MINOR | Minor Elements | 0 - 150 |  |  | 1 | 25
BIMEP | Cu | Copper | 57 | mg/kg | MINOR | Minor Elements | 0 - 500 |  |  | 1 | 12.5
BIMEP | Hg | Mercury | 58 | mg/kg | MINOR | Minor Elements | 0 - 5 |  |  | 0 | 12.5
BIMEP | Mn | Manganese | 59 | mg/kg | MINOR | Minor Elements | 0 - 1000 |  |  | 5 | 17.5
BIMEP | Mo | Molybdenum | 60 | mg/kg | MINOR | Minor Elements | 0 - 10
BIMEP | Ni | Nickel | 61 | mg/kg | MINOR | Minor Elements | 0 - 75 |  |  | 1 | 17.5
BIMEP | Pb | Lead | 62 | mg/kg | MINOR | Minor Elements | 0 - 500 |  |  | 5 | 10
BIMEP | Se | Selenium | 64 | mg/kg | MINOR | Minor Elements
BIMEP | Sn | Tin | 65 | mg/kg | MINOR | Minor Elements
BIMEP | Te | Tellurium | 66 | mg/kg | MINOR | Minor Elements
BIMEP | Ti | Titanium | 71 | mg/kg | MINOR | Minor Elements | 0 - 3000
BIMEP | Tl | Thallium | 67 | mg/kg | MINOR | Minor Elements
BIMEP | V | Vanadium | 68 | mg/kg | MINOR | Minor Elements | 0 - 50 |  |  | 0.5 | 25
BIMEP | Zn | Zinc | 69 | mg/kg | MINOR | Minor Elements | 0 - 2000 |  |  | 2 | 15
IPE | Ag | Silver | 41 | µg/kg | IN | Inorganic Chemical Composition
IPE | As | Arsenic | 20 | µg/kg | IN | Inorganic Chemical Composition | 0 - 2500 |  |  | 10 | 12.5
IPE | B | Boron | 2 | mg/kg | IN | Inorganic Chemical Composition | 0 - 250 |  |  | 1 | 10
IPE | Ba | Barium | 33 | mg/kg | IN | Inorganic Chemical Composition | 0 - 150 |  |  | 0.2 | 10
IPE | Be | Beryllium | 42 | µg/kg | IN | Inorganic Chemical Composition | 0 - 150 |  |  | 1 | 25
IPE | Bi | Bismuth | 34 | µg/kg | IN | Inorganic Chemical Composition
IPE | Br | Bromine | 21 | mg/kg | IN | Inorganic Chemical Composition | 0 - 100 |  |  | 0.1 | 10
IPE | Ca | Calcium | 55 | g/kg | IN | Inorganic Chemical Composition | 0 - 40 |  |  | 0.1 | 7.5
IPE | Cd | Cadmium | 22 | µg/kg | IN | Inorganic Chemical Composition | 0 - 4000 |  |  | 5 | 12.5
IPE | Cl (as Cl) | Chloride | 56 | g/kg | IN | Inorganic Chemical Composition | 0 - 20 |  |  | 0.2 | 7.5
IPE | Co | Cobalt | 23 | µg/kg | IN | Inorganic Chemical Composition | 0 - 8000 |  |  | 10 | 12.5
IPE | Cr | Chromium | 24 | µg/kg | IN | Inorganic Chemical Composition | 0 - 16000 |  |  | 120 | 12.5
IPE | Cs | Cesium | 43 | µg/kg | IN | Inorganic Chemical Composition | 0 - 500 |  |  | 6 | 15
IPE | Cu | Copper | 3 | mg/kg | IN | Inorganic Chemical Composition | 0 - 25 |  |  | 0.5 | 9
IPE | F | Fluorine | 5 | mg/kg | IN | Inorganic Chemical Composition
IPE | Fe | Iron | 4 | mg/kg | IN | Inorganic Chemical Composition | 0 - 1100 |  |  | 5 | 10
IPE | Ga | Gallium | 25 | µg/kg | IN | Inorganic Chemical Composition
IPE | Hg | Mercury | 26 | µg/kg | IN | Inorganic Chemical Composition | 0 - 700 |  |  | 2 | 12.5
IPE | I | Iodine | 27 | µg/kg | IN | Inorganic Chemical Composition | 0 - 2500
IPE | K | Potassium | 57 | g/kg | IN | Inorganic Chemical Composition | 0 - 70 |  |  | 0.2 | 7.5
IPE | Li | Lithium | 28 | µg/kg | IN | Inorganic Chemical Composition | 0 - 18000 |  |  | 45 | 15
IPE | Mg | Magnesium | 58 | g/kg | IN | Inorganic Chemical Composition | 0 - 30 |  |  | 0 | 7.5
IPE | Mn | Manganese | 6 | mg/kg | IN | Inorganic Chemical Composition | 0 - 1000 |  |  | 1 | 7.5
IPE | Mo | Molybdenum | 29 | µg/kg | IN | Inorganic Chemical Composition | 0 - 15000 |  |  | 35 | 12.5
IPE | N - Kjeldahl (as N) | Nitrogen acc. to Kjeldahl (expressed in N) | 59 | g/kg | IN | Inorganic Chemical Composition | 0 - 50 |  |  | 0.5 | 5
IPE | N - NH4 (as N) | Ammonium (expressed in N) | 60 | mg/kg | IN | Inorganic Chemical Composition
IPE | N - NO3 (as N) | Nitrate (expressed in N) | 61 | mg/kg | IN | Inorganic Chemical Composition | 0 - 12000 |  |  | 30 | 7.5
IPE | Na | Sodium | 62 | mg/kg | IN | Inorganic Chemical Composition | 0 - 4000 |  |  | 20 | 10
IPE | Ni | Nickel | 30 | µg/kg | IN | Inorganic Chemical Composition | 0 - 16000 |  |  | 70 | 15
IPE | P (as P) | Phosphorus (expressed as P) | 63 | g/kg | IN | Inorganic Chemical Composition | 0 - 10 |  |  | 0 | 7.5
IPE | Pb | Lead | 31 | µg/kg | IN | Inorganic Chemical Composition | 0 - 6000 |  |  | 35 | 15
IPE | Pd | Palladium | 52 | µg/kg | IN | Inorganic Chemical Composition
IPE | Pt | Platinum | 53 | µg/kg | IN | Inorganic Chemical Composition
IPE | Rb | Rhubidium | 44 | µg/kg | IN | Inorganic Chemical Composition | 0 - 4 |  |  | 0 | 10
IPE | Rh | Rhubidium | 54 | µg/kg | IN | Inorganic Chemical Composition
IPE | S (as S) | Sulphur (expressed in Sulpher) | 64 | g/kg | IN | Inorganic Chemical Composition | 0 - 60 |  |  | 0 | 10
IPE | Sb | Antimony | 35 | µg/kg | IN | Inorganic Chemical Composition | 0 - 300 |  |  | 8 | 20
IPE | Se | Selenium | 32 | µg/kg | IN | Inorganic Chemical Composition | 0 - 600 |  |  | 15 | 20
IPE | Sn | Tin | 36 | µg/kg | IN | Inorganic Chemical Composition | 0 - 12000 |  |  | 6 | 20
IPE | SO4 (as SO4) | Sulfate | 65 | g/kg | IN | Inorganic Chemical Composition |  |  |  | 0.3 | 12.5
IPE | Sr | Strontium | 40 | mg/kg | IN | Inorganic Chemical Composition | 0 - 200 |  |  | 0 | 10
IPE | Ti | Titanium | 37 | mg/kg | IN | Inorganic Chemical Composition | 0 - 25 |  |  | 0 | 50
IPE | V | Vanadium | 38 | µg/kg | IN | Inorganic Chemical Composition | 0 - 4000 |  |  | 15 | 15
IPE | Zn | Zinc | 8 | mg/kg | IN | Inorganic Chemical Composition | 0 - 250 |  |  | 2 | 7.5
IPE | Al | Aluminum | 48 | mg/kg | RT | Real totals | 0 - 3000 |  |  | 5 | 25
IPE | C - elementary | Carbon- elementary | 47 | g/kg | RT | Real totals | 300 - 650 |  |  | 15 | 2
IPE | N - elementary | Nitrogen - elementary | 66 | g/kg | RT | Real totals | 0 - 50 |  |  | 0.5 | 4
IPE | S - elementary | Sulphur - elementary | 237 | g/kg | RT | Real totals | 0 - 60
IPE | Si | Silicon | 50 | mg/kg | RT | Real totals
IPE | Al | Aluminum | 49 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 1200
IPE | Si | Silicon | 51 | mg/kg | AE | Acid extractable (So-called totals)
IPE | delta 13C | V-PDB: Vienna-Pee-Dee Belemnite (RPDB = 0.0112372). | 67 | ‰ V-PDB | OD | Other determinations
IPE | delta 15N |  | 68 | ‰ Air | OD | Other determinations
IPE | ADF-ash-free | Acid Detergent Fiber - ash free | 205 | g/kg | NUT | Nutritional values | 0 - 600 |  |  | 10 | 12.5
IPE | Crude fibre | Crude fibre | 200 | g/kg | NUT | Nutritional values | 0 - 800 |  |  | 5 | 10
IPE | NDF-ash-containing | neutral detergent fiber ash-containing | 206 | g/kg | NUT | Nutritional values
IPE | NDF-ash-free | neutral detergent fiber ash-free | 207 | g/kg | NUT | Nutritional values | 0 - 550
IPE | Polysaccharides (starch) | Polysaccharides (starch) | 212 | g/kg | NUT | Nutritional values
IPE | Total ash | Total ash | 208 | g/kg | NUT | Nutritional values | 0 - 220 |  |  | 2.5 | 5
IPE | Total Disaccharides | Total Disaccharides | 211 | g/kg | NUT | Nutritional values
IPE | Total fat | Total fat | 209 | g/kg | NUT | Nutritional values |  |  |  | 4 | 25
IPE | Total monosaccharides | Total monosaccharides | 210 | g/kg | NUT | Nutritional values
ISE | Ag | Silver | 240 | mg/kg | RT | Real totals
ISE | Al | Aluminum | 1 | g/kg | RT | Real totals | 0 - 120 |  |  | 1 | 4
ISE | As | Arsenic | 2 | mg/kg | RT | Real totals | 0 - 60 |  |  | 0.8 | 10
ISE | B | Boron | 3 | mg/kg | RT | Real totals
ISE | Ba | Barium | 4 | mg/kg | RT | Real totals | 0 - 1400 |  |  | 8 | 7.5
ISE | Be | Beryllium | 146 | mg/kg | RT | Real totals | 0 - 3 |  |  | 0.1 | 15
ISE | Bi | Bismuth | 243 | mg/kg | RT | Real totals
ISE | Br | Bromine | 5 | mg/kg | RT | Real totals | 0 - 35 |  |  | 1 | 10
ISE | C-elementary | Carbon- elementary | 130 | g/kg | RT | Real totals | 0 - 175 |  |  | 1 | 3
ISE | Ca | Calcium | 6 | g/kg | RT | Real totals | 0 - 350 |  |  | 0.2 | 6
ISE | Cd | Cadmium | 7 | mg/kg | RT | Real totals | 0 - 20 |  |  | 0 | 10
ISE | Ce | Cerium | 249 | mg/kg | RT | Real totals | 0 - 120 |  |  | 5 | 10
ISE | Co | Cobalt | 8 | mg/kg | RT | Real totals | 0 - 30 |  |  | 0.5 | 15
ISE | Cr | Chromium | 9 | mg/kg | RT | Real totals | 0 - 450 |  |  | 8 | 10
ISE | Cs | Cesium | 279 | mg/kg | RT | Real totals | 0 - 15 |  |  | 0.1 | 20
ISE | Cu | Copper | 10 | mg/kg | RT | Real totals | 0 - 250 |  |  | 2.5 | 10
ISE | Dy | Dysprosium | 451 | mg/kg | RT | Real totals
ISE | F | Fluorine | 11 | mg/kg | RT | Real totals
ISE | Fe | Iron | 12 | g/kg | RT | Real totals | 0 - 75 |  |  | 0.4 | 5
ISE | Ga | Gallium | 13 | mg/kg | RT | Real totals | 0 - 30 |  |  | 2 | 10
ISE | Gd | Gadolinium | 450 | mg/kg | RT | Real totals
ISE | Ge | Germanium | 280 | mg/kg | RT | Real totals
ISE | Hg | Mercury | 298 | µg/kg | RT | Real totals | 0 - 7000 |  |  | 3 | 10
ISE | I | Iodine | 15 | mg/kg | RT | Real totals | 0 - 25 |  |  | 2 | 20
ISE | K | Potassium | 16 | mg/kg | RT | Real totals | 0 - 25000 |  |  | 350 | 5
ISE | La | Lanthanum | 250 | mg/kg | RT | Real totals | 0 - 60 |  |  | 2.5 | 7.5
ISE | Li | Lithium | 17 | mg/kg | RT | Real totals | 0 - 60 |  |  | 2 | 15
ISE | Mg | Magnesium | 18 | mg/kg | RT | Real totals | 0 - 25000 |  |  | 120 | 7.5
ISE | Mn | Manganese | 19 | mg/kg | RT | Real totals | 0 - 1800 |  |  | 20 | 6
ISE | Mo | Molybdenum | 20 | mg/kg | RT | Real totals | 0 - 5 |  |  | 0.2 | 20
ISE | N - elementary | Nitrogen - elementary | 244 | g/kg | RT | Real totals | 0 - 12 |  |  | 0.1 | 5
ISE | Na | Sodium | 21 | mg/kg | RT | Real totals | 0 - 16000 |  |  | 300 | 6
ISE | Nb | Niobium | 251 | mg/kg | RT | Real totals | 0 - 20
ISE | Nd | Neodymium | 252 | mg/kg | RT | Real totals | 0 - 50 |  |  | 3 | 12.5
ISE | Ni | Nickel | 22 | mg/kg | RT | Real totals | 0 - 120 |  |  | 2 | 10
ISE | P | Phosphorus | 23 | mg/kg | RT | Real totals | 0 - 4500 |  |  | 55 | 10
ISE | Pb | Lead | 24 | mg/kg | RT | Real totals | 0 - 700 |  |  | 2 | 7.5
ISE | Pd | Palladium | 281 | mg/kg | RT | Real totals
ISE | Pr | Praseodymium | 449 | mg/kg | RT | Real totals
ISE | Pt | Platinum | 274 | mg/kg | RT | Real totals
ISE | Rb | Rhubidium | 25 | mg/kg | RT | Real totals | 0 - 140 |  |  | 2 | 5
ISE | Rh | Rhodium | 282 | mg/kg | RT | Real totals
ISE | S | Sulphur | 26 | mg/kg | RT | Real totals | 0 - 4000 |  |  | 90 | 12.5
ISE | Sb | Antimony | 134 | mg/kg | RT | Real totals | 0 - 8 |  |  | 0.2 | 15
ISE | Sc | Scandium | 253 | mg/kg | RT | Real totals | 0 - 30 |  |  | 0.2 | 15
ISE | Se | Selenium | 27 | mg/kg | RT | Real totals | 0 - |  |  | 0.6 | 25
ISE | Si | Silicon | 28 | g/kg | RT | Real totals | 0 - 450 |  |  | 8.4 | 2
ISE | Sm | Samarium | 448 | mg/kg | RT | Real totals
ISE | Sn | Tin | 29 | mg/kg | RT | Real totals | 0 - 50 |  |  | 0.6 | 15
ISE | Sr | Strontium | 30 | mg/kg | RT | Real totals | 0 - 700 |  |  | 3.5 | 6
ISE | Te | Tellurium | 390 | mg/kg | RT | Real totals | 0 -
ISE | Th | Thorium | 254 | mg/kg | RT | Real totals | 0 - 20 |  |  | 0.8 | 10
ISE | Ti | Titanium | 239 | mg/kg | RT | Real totals | 0 - 6000 |  |  | 105 | 5
ISE | Tl | Thallium | 147 | mg/kg | RT | Real totals | 0 - 2 |  |  | 0.1 | 15
ISE | U | Uranium | 255 | mg/kg | RT | Real totals | 0 - 7 |  |  | 0.3 | 20
ISE | V | Vanadium | 150 | mg/kg | RT | Real totals | 0 - 250 |  |  | 3 | 7.5
ISE | W | Tungstan / Wolfram | 283 | mg/kg | RT | Real totals | 0 - 7 |  |  | 0.4 | 17.5
ISE | Y | Yttrium | 31 | mg/kg | RT | Real totals | 0 - 40 |  |  | 1.5 | 7.5
ISE | Yb | Ytterbium | 447 | mg/kg | RT | Real totals
ISE | Zn | Zinc | 32 | mg/kg | RT | Real totals | 0 - 1500 |  |  | 3 | 7.5
ISE | Zr | Zirconium | 33 | mg/kg | RT | Real totals | 0 - 700 |  |  | 13 | 7.5
ISE | Ag | Silver | 241 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 3 |  |  | 1 | 15
ISE | Al | Aluminum | 34 | g/kg | AE | Acid extractable (So-called totals) | 0 - 60 |  |  | 0 | 25
ISE | As | Arsenic | 35 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 45 |  |  | 0.5 | 10
ISE | B | Boron | 36 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 50 |  |  | 1 | 25
ISE | Ba | Barium | 37 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 1100 |  |  | 5 | 10
ISE | Be | Beryllium | 148 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 2.5 |  |  | 0 | 17.5
ISE | Bi | Bismuth | 256 | mg/kg | AE | Acid extractable (So-called totals) |  |  |  | 0 | 12.5
ISE | Br | Bromine | 38 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Ca | Calcium | 40 | g/kg | AE | Acid extractable (So-called totals) | 0 - 300 |  |  | 0.2 | 7.5
ISE | Cd | Cadmium | 41 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 15 |  |  | 0 | 10
ISE | Ce | Cerium | 257 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Co | Cobalt | 42 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 25 |  |  | 0.5 | 10
ISE | Cr | Chromium | 43 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 350 |  |  | 4 | 12.5
ISE | Cu | Copper | 44 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 250 |  |  | 0.8 | 10
ISE | F | Fluorine | 45 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Fe | Iron | 46 | g/kg | AE | Acid extractable (So-called totals) | 0 - 60 |  |  | 0.4 | 12.5
ISE | Ga | Gallium | 47 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Hg | Mercury | 299 | µg/kg | AE | Acid extractable (So-called totals) | 0 - 6000 |  |  | 7 | 12.5
ISE | I | Iodine | 49 | mg/kg | AE | Acid extractable (So-called totals)
ISE | K | Potassium | 50 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 10000 |  |  | 0 | 25
ISE | La | Lanthanum | 258 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Li | Lithium | 51 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 50 |  |  | 3 | 20
ISE | Mg | Magnesium | 52 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 18000 |  |  | 55 | 10
ISE | Mn | Manganese | 53 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 1400 |  |  | 11 | 10
ISE | Mo | Molybdenum | 54 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 5 |  |  | 0.1 | 15
ISE | N | Nitrogen | 55 | g/kg | AE | Acid extractable (So-called totals) | 0 - 10 |  |  | 0.1 | 7.5
ISE | Na | Sodium | 56 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 800 |  |  | 25 | 25
ISE | Nb | Niobium | 259 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Nd | Neodymium | 260 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Ni | Nickel | 57 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 100 |  |  | 0.9 | 10
ISE | P | Phosphorus | 58 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 4000 |  |  | 22 | 10
ISE | Pb | Lead | 59 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 700 |  |  | 1 | 10
ISE | Pt | Platinum | 275 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Rb | Rhubidium | 60 | mg/kg | AE | Acid extractable (So-called totals)
ISE | S | Sulphur | 61 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 4000 |  |  | 30 | 10
ISE | Sb | Antimony | 135 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 7 |  |  | 0.3 | 20
ISE | Sc | Scandium | 261 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Se | Selenium | 62 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 3 |  |  | 0 | 25
ISE | Si | Silicon | 63 | g/kg | AE | Acid extractable (So-called totals)
ISE | Sn | Tin | 64 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 40 |  |  | 0.4 | 15
ISE | Sr | Strontium | 65 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 180 |  |  | 2 | 7.5
ISE | Te | Tellurium | 391 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Th | Thorium | 262 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Ti | Titanium | 242 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 700 |  |  | 38 | 25
ISE | Tl | Thallium | 149 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 1.2 |  |  | 0 | 25
ISE | U | Uranium | 263 | mg/kg | AE | Acid extractable (So-called totals) |  |  |  | 0 | 17.5
ISE | V | Vanadium | 104 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 150 |  |  | 0 | 17.5
ISE | Y | Yttrium | 66 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Zn | Zinc | 67 | mg/kg | AE | Acid extractable (So-called totals) | 0 - 1400 |  |  | 2.5 | 10
ISE | Zr | Zirconium | 68 | mg/kg | AE | Acid extractable (So-called totals)
ISE | Ag | Silver | 301 | µg/kg | AR | Aqua Regia (ISO 11466) | 0 - 5000
ISE | Al | Aluminum | 302 | g/kg | AR | Aqua Regia (ISO 11466) | 0 - 60 |  |  | 0 | 15
ISE | As | Arsenic | 303 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 50 |  |  | 0.2 | 10
ISE | B | Boron | 304 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 40 |  |  | 2.5 | 25
ISE | Ba | Barium | 305 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 1000 |  |  | 2 | 12.5
ISE | Be | Beryllium | 306 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 2.5 |  |  | 0 | 10
ISE | Bi | Bismuth | 307 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Br | Bromine | 308 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Ca | Calcium | 310 | g/kg | AR | Aqua Regia (ISO 11466) | 0 - 350 |  |  | 0.1 | 7.5
ISE | Cd | Cadmium | 311 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 15 |  |  | 0 | 10
ISE | Ce | Cerium | 312 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Co | Cobalt | 313 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 25 |  |  | 0.1 | 10
ISE | Cr | Chromium | 314 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 350 |  |  | 2 | 10
ISE | Cu | Copper | 315 | mg/kg | AR | Aqua Regia (ISO 11466) |  |  |  | 0.7 | 10
ISE | F | Fluorine | 316 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Fe | Iron | 317 | g/kg | AR | Aqua Regia (ISO 11466) | 0 - 55 |  |  | 0.2 | 7.5
ISE | Ga | Gallium | 318 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Hg | Mercury | 319 | µg/kg | AR | Aqua Regia (ISO 11466) | 0 - 6200 |  |  | 8 | 10
ISE | I | Iodine | 320 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | K | Potassium | 321 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 10000 |  |  | 0 | 17.5
ISE | La | Lanthanum | 322 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Li | Lithium | 323 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 60 |  |  | 0.4 | 20
ISE | Mg | Magnesium | 324 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 18000 |  |  | 25 | 10
ISE | Mn | Manganese | 325 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 15000 |  |  | 6 | 7.5
ISE | Mo | Molybdenum | 326 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 5 |  |  | 0.1 | 12.5
ISE | Na | Sodium | 328 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 700 |  |  | 20 | 17.5
ISE | Nd | Neodymium | 330 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Ni | Nickel | 331 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 100 |  |  | 0.4 | 10
ISE | P | Phosphorus | 332 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 4500 |  |  | 16 | 7.5
ISE | Pb | Lead | 333 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 700 |  |  | 1 | 10
ISE | Pt | Platinum | 334 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Rb | Rhubidium | 335 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | S | Sulphur | 336 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 4000 |  |  | 12 | 7.5
ISE | Sb | Antimony | 337 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 7 |  |  | 0 | 15
ISE | Sc | Scandium | 338 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Se | Selenium | 339 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 2.5 |  |  | 0 | 25
ISE | Si | Silicon | 340 | g/kg | AR | Aqua Regia (ISO 11466)
ISE | Sn | Tin | 341 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 35 |  |  | 0.4 | 10
ISE | Sr | Strontium | 342 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 400 |  |  | 2 | 10
ISE | Te | Tellurium | 351 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 1.2
ISE | Th | Thorium | 343 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 2500
ISE | Ti | Titanium | 344 | mg/kg | AR | Aqua Regia (ISO 11466) |  |  |  | 25 | 25
ISE | Tl | Thallium | 345 | mg/kg | AR | Aqua Regia (ISO 11466) |  |  |  | 0 | 17.5
ISE | U | Uranium | 346 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 4 |  |  | 0 | 6
ISE | V | Vanadium | 347 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 180 |  |  | 0.3 | 12.5
ISE | Y | Yttrium | 348 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Zn | Zinc | 349 | mg/kg | AR | Aqua Regia (ISO 11466) | 0 - 1400 |  |  | 1.5 | 7.5
ISE | Zr | Zirconium | 350 | mg/kg | AR | Aqua Regia (ISO 11466)
ISE | Cd | Cadmium | 109 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 20 |  |  | 0 | 7.5
ISE | Co | Cobalt | 110 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 25 |  |  | 0.1 | 6
ISE | Cr | Chromium | 111 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 300 |  |  | 0.5 | 7
ISE | Cu | Copper | 112 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 250 |  |  | 0.5 | 5
ISE | Hg | Mercury | 113 | µg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 6000 |  |  | 4 | 7.5
ISE | Mo | Molybdenum | 114 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 2.5 |  |  | 0 | 10
ISE | Ni | Nickel | 115 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 80 |  |  | 0.2 | 7.5
ISE | Pb | Lead | 116 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 700 |  |  | 0.8 | 7.5
ISE | Tl | Thallium | 117 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 1 |  |  | 0 | 10
ISE | Zn | Zinc | 118 | mg/kg | NA | Extraction with boiling 2M HNO3 | 0 - 1400 |  |  | 1 | 7.5
ISE | Cd | Cadmium | 119 | µg/kg | SN | Extraction with 0.1M NaNO3 | 0 - 400 |  |  | 0.8 | 6
ISE | Cu | Copper | 120 | µg/kg | SN | Extraction with 0.1M NaNO3 | 0 - 1000 |  |  | 10 | 7.5
ISE | Ni | Nickel | 121 | µg/kg | SN | Extraction with 0.1M NaNO3 | 0 - 1700 |  |  | 5 | 6
ISE | Pb | Lead | 122 | µg/kg | SN | Extraction with 0.1M NaNO3 | 0 - 90 |  |  | 3 | 25
ISE | Zn | Zinc | 123 | µg/kg | SN | Extraction with 0.1M NaNO3 | 0 - 6000 |  |  | 25 | 5
ISE | Al | Aluminum | 74 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | B | Boron | 75 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Cd | Cadmium | 76 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | CN | Cyanide | 77 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Co | Cobalt | 78 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Cr | Chromium | 79 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Cu | Copper | 80 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Fe | Iron | 81 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | K | Potassium | 82 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 350 |  |  | 4 | 5
ISE | Mg | Magnesium | 83 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 350 |  |  | 2 | 10
ISE | Mn | Manganese | 84 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 10 |  |  | 0.4 | 10
ISE | N - NH4 (as N) | Ammonium (expressed in N) | 86 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 200 |  |  | 1 | 12.5
ISE | N - NO3 (as N) | Nitrate (expressed in N) | 87 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 1 - 100 |  |  | 0.8 | 7
ISE | N total soluble | Total soluble nitrogen | 85 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Na | Sodium | 88 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 250 |  |  | 1 | 7.5
ISE | Ni | Nickel | 145 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | P | Phosphorus | 89 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 15 |  |  | 0.4 | 15
ISE | Pb | Lead | 90 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | S | Sulphur | 534 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 -
ISE | SO4 | Sulphate | 91 | mg/kg | CC | Extraction with 0.01M CaCl2 1:10
ISE | Zn | Zinc | 92 | µg/kg | CC | Extraction with 0.01M CaCl2 1:10 | 0 - 80
ISE | C - org others (W&B a.o.) | Carbon organic others (e.g. Walkley and Black) | 278 | g/kg | SC | Soil characteristics | 0 - 150 |  |  | 0.7 | 17.5
ISE | TIC=Tot.Inorg C(as CaCO3) | Total Inorganic Carbon | 105 | % | SC | Soil characteristics | 0 - 80 |  |  | 1 | 7.5
ISE | TOC=Total Org. C | Total Organic Carbon | 277 | g/kg | SC | Soil characteristics | 0 - 160 |  |  | 1.5 | 7.5
ISE | TC=Total C (org.+inorg.) | Total Carbon | 276 | g/kg | SC | Soil characteristics | 0 - 160 |  |  | 1 | 4
ISE | Org.matter (L.O.I.) | Loss On Ignition | 131 | % | SC | Soil characteristics | 0 - 35 |  |  | 0.4 | 10
ISE | Active Lime (as CaCO3) | Active Lime (as CaCO3) | 443 | % | SC | Soil characteristics | 0 - 40 |  |  | 0.3 | 25
ISE | EC-SC (ISO 11265) | Electrical Conductivity | 106 | mS/m | SC | Soil characteristics | 0 - 250 |  |  | 2 | 10
ISE | EC - saturated paste | Electrical Conductivity in Saturated Paste | 538 | mS/m | SC | Soil characteristics | 0 - 2000
ISE | pH - CaCl2 | pH in Calcium chloride | 73 | ... | SC | Soil characteristics | 3.5 - 8.5 |  |  | 0 | 2
ISE | pH - H2O | pH in water | 71 | ... | SC | Soil characteristics | 3.5 - 9 |  |  | 0.1 | 4
ISE | pH - KCl | pH- in potassium chloride | 72 | ... | SC | Soil characteristics | 3.5 - 8.5 |  |  | 0 | 4
ISE | Fraction < 2 µm | particle size 0 to 2 µm | 103 | % | SC | Soil characteristics | 0 - 65 |  |  | 1.5 | 22.5
ISE | Fraction < 16 µm | particle size 0 to 16 µm | 132 | % | SC | Soil characteristics | 2 - 90 |  |  | 5 | 17.5
ISE | Fraction < 63 µm | particle size 0 to 63 µm | 126 | % | SC | Soil characteristics | 5 - 100 |  |  | 5.5 | 0
ISE | Fraction > 63 µm | particle size greater than 63 µm | 127 | % | SC | Soil characteristics | 0 - 100 |  |  | 4 | 4
ISE | Fraction 2 - 50 µm (USDA) | particle size 2 to 50 µm (USDA classification) | 536 | % | SC | Soil characteristics | 0 - 100
ISE | Fraction > 50 µm (USDA) | particle size greater than 50 µm (USDA classification) | 537 | % | SC | Soil characteristics | 0 - 100
ISE | B - Hot water | Boron Hot water extraction | 151 | mg/kg | OD | Other determinations | 0 - 3 |  |  | 0.2 | 25
ISE | CN - Free | Free Cyanide | 70 | mg/kg | OD | Other determinations
ISE | CN - Total | Total Cyanide | 69 | mg/kg | OD | Other determinations |  |  |  | 0.4 | 22.5
ISE | delta 13C | V-PDB: Vienna-Pee-Dee Belemnite (RPDB = 0.0112372). | 367 | ‰ V-PDB | OD | Other determinations
ISE | delta 15N |  | 368 | ‰ Air | OD | Other determinations
ISE | K - HCl (as K) | Potassium after Hydrochloric acid extraction | 129 | mg/kg | OD | Other determinations
ISE | Mg - NaCl (as Mg) | Magnesium (in Sodium Chloride as Mg) | 128 | mg/kg | OD | Other determinations
ISE | Moisture-content | Moisture-content | 133 | % | OD | Other determinations | 0 - 10 |  |  | 0.2 | 12.5
ISE | F - Total | Total Fluorine | 124 | mg/kg | F | Fluoride (Swiss standard procedure)
ISE | CEC | Cation Exchange Capacity | 191 | cmol+/kg | AA | Pot. CEC using 1M NH4-acetate at pH=7 | 0 - 70 |  |  | 2 | 20
ISE | Al | Aluminum | 196 | cmol+/kg | AA | Pot. CEC using 1M NH4-acetate at pH=7
ISE | Ca | Calcium | 195 | cmol+/kg | AA | Pot. CEC using 1M NH4-acetate at pH=7 | 0 - 70 |  |  | 0 | 25
ISE | K | Potassium | 193 | cmol+/kg | AA | Pot. CEC using 1M NH4-acetate at pH=7 | 0 - 1.8 |  |  | 0 | 15
ISE | Mg | Magnesium | 194 | cmol+/kg | AA | Pot. CEC using 1M NH4-acetate at pH=7 | 0 - 7 |  |  | 0.1 | 17.5
ISE | Na | Sodium | 192 | cmol+/kg | AA | Pot. CEC using 1M NH4-acetate at pH=7 | 0 - 1.2 |  |  | 0 | 20
ISE | CEC | Cation Exchange Capacity | 197 | cmol+/kg | BC | Pot. CEC using 1M or 0.1M BaCl2-TEA at pH=8.1 (ISO 13536 OR BZE) | 0 - 50 |  |  | 3 | 20
ISE | Al | Aluminum | 202 | cmol+/kg | BC | Pot. CEC using 1M or 0.1M BaCl2-TEA at pH=8.1 (ISO 13536 OR BZE)
ISE | Ca | Calcium | 201 | cmol+/kg | BC | Pot. CEC using 1M or 0.1M BaCl2-TEA at pH=8.1 (ISO 13536 OR BZE)
ISE | K | Potassium | 199 | cmol+/kg | BC | Pot. CEC using 1M or 0.1M BaCl2-TEA at pH=8.1 (ISO 13536 OR BZE) | 0 - 2.5 |  |  | 0.1 | 15
ISE | Mg | Magnesium | 200 | cmol+/kg | BC | Pot. CEC using 1M or 0.1M BaCl2-TEA at pH=8.1 (ISO 13536 OR BZE) | 0 - 2.5
ISE | Na | Sodium | 198 | cmol+/kg | BC | Pot. CEC using 1M or 0.1M BaCl2-TEA at pH=8.1 (ISO 13536 OR BZE)
ISE | CEC | Cation Exchange Capacity | 203 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE)
ISE | Al | Aluminum | 208 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) | 0 - 3.5 |  |  | 0 | 25
ISE | Ca | Calcium | 207 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) | 0 - 30 |  |  | 0.1 | 10
ISE | Fe | Iron | 211 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) |  |  |  | 0 | 25
ISE | H | Hydrogen (H) | 209 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE)
ISE | K | Potassium | 205 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) | 0 - 1.4 |  |  | 0 | 12.5
ISE | Mg | Magnesium | 206 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) | 0 - 5 |  |  | 0 | 7.5
ISE | Mn | Manganese | 210 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) | 0 - 1 |  |  | 0 | 7.5
ISE | Na | Sodium | 204 | cmol+/kg | AC | Pot. CEC using 1M NH4Cl (BZE) | 0 - 0.35 |  |  | 0 | 20
ISE | CEC | Cation Exchange Capacity | 212 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | Al | Aluminum | 218 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | Ca | Calcium | 216 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | Fe | Iron | 217 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | H | Hydrogen (H) | 220 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | K | Potassium | 214 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | Mg | Magnesium | 215 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | Mn | Manganese | 219 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | Na | Sodium | 213 | cmol+/kg | BA | Act. CEC using 0.01M BaCl2 (ISO 11260)
ISE | CEC | Cation Exchange Capacity | 221 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) | 0 - 25 |  |  | 0 | 10
ISE | Al | Aluminum | 226 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) |  |  |  | 0.1 | 20
ISE | Ca | Calcium | 224 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) | 0 - 25 |  |  | 0 | 7.5
ISE | Fe | Iron | 227 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) |  |  |  | 0 | 25
ISE | H | Hydrogen (H) | 229 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A)
ISE | K | Potassium | 223 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) | 0 - 1.5 |  |  | 0 | 7.5
ISE | Mg | Magnesium | 225 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) | 0 - 4.5 |  |  | 0 | 7.5
ISE | Mn | Manganese | 228 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) | 0 - 0.7 |  |  | 0 | 10
ISE | Na | Sodium | 222 | cmol+/kg | BB | Act. CEC using 0.1M BaCl2 (UNEP-UN/EC 91065A) | 0 - 1 |  |  | 0 | 10
ISE | CEC | Cation Exchange Capacity | 230 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130) |  |  |  | 1 | 7.5
ISE | Al | Aluminum | 235 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130) | 0 - 80
ISE | Ca | Calcium | 233 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130) |  |  |  | 0.4 | 6
ISE | Fe | Iron | 237 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130)
ISE | H | Hydrogen (H) | 236 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130)
ISE | K | Potassium | 232 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130) | 0 - 2 |  |  | 0 | 7.5
ISE | Mg | Magnesium | 234 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130) | 0 - 7 |  |  | 0 | 7.5
ISE | Mn | Manganese | 238 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130)
ISE | Na | Sodium | 231 | cmol+/kg | CH | Act. CEC using cobaltihexamine (AFNOR NFX 31 130) | 0 - 1.5 |  |  | 0 | 12.5
ISE | Al | Aluminum | 291 | mg/kg | M3 | Mehlich-3 | 0 - 2000 |  |  | 30 | 12.5
ISE | As | Arsenic | 292 | mg/kg | M3 | Mehlich-3
ISE | B | Boron | 264 | mg/kg | M3 | Mehlich-3 | 0 - 10 |  |  | 0.2 | 10
ISE | Ca | Calcium | 265 | mg/kg | M3 | Mehlich-3 | 0 - 4 |  |  | 5 | 12.5
ISE | Cd | Cadmium | 293 | mg/kg | M3 | Mehlich-3
ISE | Cr | Chromium | 294 | mg/kg | M3 | Mehlich-3
ISE | Co | Cobalt | 445 | mg/kg | M3 | Mehlich-3
ISE | Cu | Copper | 266 | mg/kg | M3 | Mehlich-3 | 0 - 70 |  |  | 0.3 | 12.5
ISE | Fe | Iron | 267 | mg/kg | M3 | Mehlich-3 | 0 - 1800 |  |  | 15 | 15
ISE | K | Potassium | 268 | mg/kg | M3 | Mehlich-3 | 0 - 700 |  |  | 7 | 7.5
ISE | Mg | Magnesium | 269 | mg/kg | M3 | Mehlich-3 | 0 - 900 |  |  | 8 | 7.5
ISE | Mn | Manganese | 270 | mg/kg | M3 | Mehlich-3 | 0 - 400 |  |  | 3 | 15
ISE | Na | Sodium | 271 | mg/kg | M3 | Mehlich-3 | 0 - 300 |  |  | 4 | 12.5
ISE | P | Phosphorus | 272 | mg/kg | M3 | Mehlich-3 | 0 - 1200 |  |  | 4 | 12.5
ISE | Se | Selenium | 446 | mg/kg | M3 | Mehlich-3
ISE | Pb | Lead | 295 | mg/kg | M3 | Mehlich-3
ISE | Zn | Zinc | 273 | mg/kg | M3 | Mehlich-3 | 0 - 300 |  |  | 0.4 | 12.5
ISE | K | Potassium | 246 | mg/kg | CAL | Extraction with Ca-lactate (VDLUFA, Germany)
ISE | P | Phosphorus | 247 | mg/kg | CAL | Extraction with Ca-lactate (VDLUFA, Germany)
ISE | K | Potassium | 248 | mg/kg | DL | Extraction with double lactate (VDLUFA, Germany) |  |  |  | 2 | 3
ISE | P | Phosphorus | 245 | mg/kg | DL | Extraction with double lactate (VDLUFA, Germany) |  |  |  | 1 | 3
ISE | Br | Bromine | 284 | mg/kg | WS | Water soluble 1:10 (w/v) (EN-12457-4)
ISE | Cl | Chloride | 285 | mg/kg | WS | Water soluble 1:10 (w/v) (EN-12457-4)
ISE | F | Fluorine | 125 | mg/kg | WS | Water soluble 1:10 (w/v) (EN-12457-4)
ISE | N - NO3 (as N) | Nitrate (expressed in N) | 286 | mg/kg | WS | Water soluble 1:10 (w/v) (EN-12457-4)
ISE | Cd | Cadmium | 535 | mg/kg | CAT | Extraction with 0.01M CaCl2 - 0.005M DTPA 1:10 (w/v) | 0 - 10
ISE | Cu | Copper | 287 | mg/kg | CAT | Extraction with 0.01M CaCl2 - 0.005M DTPA 1:10 (w/v) | 0 - 60 |  |  | 0.2 | 17.5
ISE | Fe | Iron | 288 | mg/kg | CAT | Extraction with 0.01M CaCl2 - 0.005M DTPA 1:10 (w/v) | 0 - 700 |  |  | 1 | 25
ISE | Mn | Manganese | 289 | mg/kg | CAT | Extraction with 0.01M CaCl2 - 0.005M DTPA 1:10 (w/v) | 0 - 200 |  |  | 3 | 20
ISE | Zn | Zinc | 290 | mg/kg | CAT | Extraction with 0.01M CaCl2 - 0.005M DTPA 1:10 (w/v) | 0 - 250 |  |  | 0.3 | 20
ISE | N - NH4 (as N) | Ammonium (expressed in N) | 296 | mg/kg | KCL | Extraction with 1M KCl 1:10 (w/v) | 0 - 250 |  |  | 2 | 15
ISE | N - NO3 (as N) | Nitrate (expressed in N) | 297 | mg/kg | KCL | Extraction with 1M KCl 1:10 (w/v) | 0 - 400 |  |  | 1.5 | 12.5
ISE | Exchangeable Acidity | Exchangeable Acidity | 539 | cmol+/kg | KCL | Extraction with 1M KCl 1:10 (w/v) | 0 - 10
ISE | P - Ox | Phosphorus oxalate extraction | 363 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 2200
ISE | Al - Ox | Aluminum - oxalate extraction | 361 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 2500 |  |  | 0 | 22.5
ISE | Fe - Ox | Iron after oxalate extraction | 362 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 11000
ISE | P - AL (as P) | Phosphorus Ammonium lactate extraction | 364 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 1400 |  |  | 10 | 12.5
ISE | K - AL (as K) | Potassium Ammonium lactate extraction | 533 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 2000
ISE | P - w (as P) | Phosphorus - Water (expressed in P) | 365 | mg/l soil | PHOS | Phosphorus and related analysis | 0 - 70 |  |  | 2 | 25
ISE | P - Bray (as P) | Phosphorus acc to Bray (expressed in P) | 107 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 700 |  |  | 1 | 25
ISE | P - Olsen (as P) | Phosphorus acc to Olsen (expressed in P) | 108 | mg/kg | PHOS | Phosphorus and related analysis | 0 - 250 |  |  | 2.5 | 22.5
ISE | B | Boron | 371 | mg/kg | HCLPN | Extraction with 1M HCl (Polish standard) |  |  |  | 0.1 | 12.5
ISE | Cu | Copper | 372 | mg/kg | HCLPN | Extraction with 1M HCl (Polish standard) |  |  |  | 0 | 5
ISE | Fe | Iron | 373 | mg/kg | HCLPN | Extraction with 1M HCl (Polish standard) |  |  |  | 35 | 5
ISE | Mn | Manganese | 374 | mg/kg | HCLPN | Extraction with 1M HCl (Polish standard) |  |  |  | 2 | 4
ISE | Zn | Zinc | 375 | mg/kg | HCLPN | Extraction with 1M HCl (Polish standard) |  |  |  | 0.4 | 3
ISE | Br | Bromine | 381 | mg/kg | WSVPR | Water soluble 1:10 (w/v) (Neth standard VPR C85-06)
ISE | Cl | Chloride | 382 | mg/kg | WSVPR | Water soluble 1:10 (w/v) (Neth standard VPR C85-06)
ISE | F | Fluorine | 383 | mg/kg | WSVPR | Water soluble 1:10 (w/v) (Neth standard VPR C85-06)
ISE | SO4 | Sulphate | 384 | mg/kg | WSVPR | Water soluble 1:10 (w/v) (Neth standard VPR C85-06)
ISE | K - NH4NO3 (1/5) | Potassium after Ammonium Nitrate acid extraction | 402 | mg/l | UK | UK Soil Methods | 0 - 700 |  |  | 4 | 10
ISE | Mg - NH4NO3 (1/5) | Magnesium (in ammonium nitrate ratio 1:5) | 403 | mg/l | UK | UK Soil Methods | 0 - 700 |  |  | 7 | 10
ISE | P – NaHCO3 (1/20) | Phosphorus Sodium bicarbonate (ratio 1:20) | 401 | mg/l | UK | UK Soil Methods | 0 - 200 |  |  | 0.7 | 20
ISE | pH - H2O (2/5) | pH in water (ratio 2:5) | 404 | … | UK | UK Soil Methods | 3.5 - 9 |  |  | 0.2 | 1
ISE | Ag | Silver | 411 | µg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Al | Aluminum | 434 | g/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | As | Arsenic | 412 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 20
ISE | B | Boron | 413 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Ba | Barium | 414 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 400
ISE | Be | Beryllium | 415 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 0.7
ISE | Br | Bromine | 416 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Ca | Calcium | 444 | g/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Cd | Cadmium | 417 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 8
ISE | Co | Cobalt | 418 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 10
ISE | Cr | Chromium | 419 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 80
ISE | Cu | Copper | 420 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 120
ISE | Fe | Iron | 435 | g/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 10
ISE | Hg | Mercury | 421 | µg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | K | Potassium | 436 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Mg | Magnesium | 437 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Mn | Manganese | 438 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 900
ISE | Mo | Molybdenum | 422 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 0.15
ISE | Na | Sodium | 441 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Ni | Nickel | 423 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 20
ISE | P | Phosphorus | 439 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 2000
ISE | Pb | Lead | 424 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 250
ISE | S | Sulphur | 442 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Sb | Antimony | 425 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Se | Selenium | 426 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Sn | Tin | 427 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Sr | Strontium | 428 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 120
ISE | Te | Tellurium | 429 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Ti | Titanium | 430 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | Tl | Thallium | 431 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586
ISE | V | Vanadium | 432 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 20
ISE | Zn | Zinc | 433 | mg/kg | EDNA | Extraction with dilute nitric acid (0.43 Mol/l) ISO 17586 | 0 - 700
ISE | AAE10-P | Phosphorus | 504 | mg/kg | PEP-AAE10 | PEP-Ammoniumacetate-EDTA extraction |  |  |  | 0.54 | 4
ISE | AAE10-K | Potassium | 503 | mg/kg | PEP-AAE10 | PEP-Ammoniumacetate-EDTA extraction |  |  |  | 2.8 | 3.2
ISE | AAE10-Mg | Magnesium | 502 | mg/kg | PEP-AAE10 | PEP-Ammoniumacetate-EDTA extraction |  |  |  | 0 | 3.4
ISE | AAE10-Ca | Calcium | 501 | mg/kg | PEP-AAE10 | PEP-Ammoniumacetate-EDTA extraction |  |  |  | 115 | 3.2
ISE | H2O10-P | Phosphorus - water extraction | 508 | mg/kg | PEP-H2O10 | PEP-Water extraction |  |  |  | 0.09 | 1.7
ISE | H2O10-K | Potassium - water extraction | 507 | mg/kg | PEP-H2O10 | PEP-Water extraction |  |  |  | 0 | 4.4
ISE | H2O10-Mg | Magnesium - water extraction | 506 | mg/kg | PEP-H2O10 | PEP-Water extraction |  |  |  | 0.21 | 2.7
ISE | CO2-P | Phophorus after extraction with bubbling water | 510 | P-test | PEP-TM | PEP-Test measurements |  |  |  | 0.12 | 6.2
ISE | CO2-K | Potassium after extraction with bubbling water | 509 | K-test | PEP-TM | PEP-Test measurements |  |  |  | 0.08 | 3
ISE | CC-Mg | Magnesium | 511 | Mg-test | PEP-TM | PEP-Test measurements |  |  |  | 0.19 | 1.7
ISE | pH-H2O | pH in water | 512 | ... | PEP-TM | PEP-Test measurements |  |  |  | 0.06 | 0
ISE | pH-CC | pH in 0.01M CaCl2 | 527 | ... | PEP-TM | PEP-Test measurements |  |  |  | 0.06 | 0
ISE | CaCO3 | Calcium Carbonate | 513 | % | PEP-TM | PEP-Test measurements |  |  |  | 0.3 | 9.3
ISE | Ton (clay) | Ton (clay) | 514 | % | PEP-PP | PEP-Physical parameters |  |  |  | 1 | 0
ISE | Schluff (silt) | Schluff (silt) | 515 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.9 | 3.7
ISE | Sand | Sand | 516 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.5 | 5
ISE | C-org | Organic Carbon | 517 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.07 | 6.2
ISE | Humus | Humus | 518 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.12 | 6.2
ISE | TOC_400 | Total Organic Carbon | 528 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.1 | 10
ISE | ROC_600 | Residual Organic Carbon | 529 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.1 | 10
ISE | ROC_900 | Residual Organic Carbon | 530 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.1 | 10
ISE | TIC_900A | Total Inorganic Carbon | 531 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.1 | 10
ISE | TIC_900B | Total Inorganic Carbon | 532 | % | PEP-PP | PEP-Physical parameters |  |  |  | 0.1 | 10
ISE | Ca | Calcium | 519 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.1 | 12.5
ISE | Mg | Magnesium | 520 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.02 | 12.5
ISE | Na | Sodium | 521 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.01 | 12.5
ISE | K | Potassium | 522 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.01 | 12.5
ISE | H | Hydrogen | 523 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.01 | 12.5
ISE | KAK | Ca+Mg+Na+K+H | 524 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.15 | 12.5
ISE | S-Wert | Ca+Mg+Na+K | 525 | cmol+/kg | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.14 | 12.5
ISE | BAS | Base Saturation. | 526 | % | PEP-CEC | PEP-Cation Exchange Capacity |  |  |  | 0.5 | 12.5
MARSEP | Ag | Silver | 36 | µg/kg | AE | Inorganic Chemical Composition | 0 - 35000
MARSEP | Al | Aluminum | 37 | g/kg | AE | Inorganic Chemical Composition | 0 - 75 |  |  | 1.5 | 12.5
MARSEP | As | Arsenic | 38 | mg/kg | AE | Inorganic Chemical Composition | 0 - 20 |  |  | 0.4 | 10
MARSEP | B | Boron | 39 | mg/kg | AE | Inorganic Chemical Composition | 0 - 100 |  |  | 5 | 20
MARSEP | Ba | Barium | 40 | mg/kg | AE | Inorganic Chemical Composition | 0 - 750 |  |  | 6 | 12.5
MARSEP | Be | Beryllium | 41 | µg/kg | AE | Inorganic Chemical Composition | 0 - 3000 |  |  | 60 | 20
MARSEP | Bi | Bismuth | 42 | µg/kg | AE | Inorganic Chemical Composition | 5 - 20000
MARSEP | TC =totalC (org+inorg) | Carbon (total) | 81 | g/kg | AE | Inorganic Chemical Composition | 0 - 750 |  |  | 8.5 | 6
MARSEP | TOC =total org.C | Total Organic Carbon | 91 | g/kg | AE | Inorganic Chemical Composition | 0 - 700
MARSEP | OC = org.C | Organic Carbon | 92 | g/kg | AE | Inorganic Chemical Composition | 0 - 500
MARSEP | Ca | Calcium | 44 | g/kg | AE | Inorganic Chemical Composition | 0 - 500 |  |  | 0 | 6
MARSEP | Cd | Cadmium | 45 | mg/kg | AE | Inorganic Chemical Composition | 0 - 5 |  |  | 0 | 10
MARSEP | Ce | Cerium | 86 | mg/kg | AE | Inorganic Chemical Composition | 1 - 30
MARSEP | Cl | Chloride | 46 | mg/kg | AE | Inorganic Chemical Composition | 10 - 7500
MARSEP | Co | Cobalt | 47 | mg/kg | AE | Inorganic Chemical Composition | 0 - 150 |  |  | 0.1 | 10
MARSEP | Cr | Chromium | 48 | mg/kg | AE | Inorganic Chemical Composition | 0 - 400 |  |  | 0 | 17.5
MARSEP | Cu | Copper | 49 | mg/kg | AE | Inorganic Chemical Composition | 0 - 1000 |  |  | 2 | 6
MARSEP | F | Fluorine | 50 | mg/kg | AE | Inorganic Chemical Composition | 0 - 2000
MARSEP | Fe | Iron | 51 | g/kg | AE | Inorganic Chemical Composition | 0 - 150 |  |  | 0.3 | 7.5
MARSEP | Ga | Gallium | 52 | µg/kg | AE | Inorganic Chemical Composition | 100 - 75000
MARSEP | Hg | Mercury | 53 | µg/kg | AE | Inorganic Chemical Composition | 0 - 4000 |  |  | 10 | 10
MARSEP | I | Iodine | 54 | µg/kg | AE | Inorganic Chemical Composition | 50 - 20000
MARSEP | K | Potassium | 55 | g/kg | AE | Inorganic Chemical Composition | 0 - 125 |  |  | 0.5 | 7.5
MARSEP | Li | Lithium | 56 | mg/kg | AE | Inorganic Chemical Composition | 0 - 25
MARSEP | Mg | Magnesium | 57 | g/kg | AE | Inorganic Chemical Composition | 0 - 30 |  |  | 0.1 | 7
MARSEP | Mn | Manganese | 58 | mg/kg | AE | Inorganic Chemical Composition | 0 - 4000 |  |  | 5 | 6
MARSEP | Mo | Molybdenum | 59 | mg/kg | AE | Inorganic Chemical Composition | 0 - 30 |  |  | 0.2 | 10
MARSEP | N | Nitrogen | 64 | g/kg | AE | Inorganic Chemical Composition | 0 - 125 |  |  | 0.6 | 3
MARSEP | N - NH4 (as N) | Ammonium (expressed in N) | 60 | mg/kg | AE | Inorganic Chemical Composition | 0 - 50000
MARSEP | N - NO3 (as N) | Nitrate (expressed in N) | 61 | mg/kg | AE | Inorganic Chemical Composition | 0 - 20000
MARSEP | Na | Sodium | 62 | g/kg | AE | Inorganic Chemical Composition | 0 - 20 |  |  | 0.08 | 7
MARSEP | Ni | Nickel | 63 | mg/kg | AE | Inorganic Chemical Composition | 0 - 150 |  |  | 0.4 | 8
MARSEP | P | Phosphorus | 65 | g/kg | AE | Inorganic Chemical Composition | 0 - 50 |  |  | 0.09 | 6
MARSEP | Pb | Lead | 66 | mg/kg | AE | Inorganic Chemical Composition | 0 - 500 |  |  | 1 | 8
MARSEP | S | Sulphur | 79 | mg/kg | AE | Inorganic Chemical Composition | 0 - 75000 |  |  | 200 | 10
MARSEP | S - SO4 (as S) | Sulfate (expressed as Sulpher) | 67 | mg/kg | AE | Inorganic Chemical Composition | 50 - 150000
MARSEP | Sb | Antimony | 68 | µg/kg | AE | Inorganic Chemical Composition | 0 - 10000 |  |  | 40 | 17.5
MARSEP | Se | Selenium | 69 | µg/kg | AE | Inorganic Chemical Composition | 0 - 4000 |  |  | 90 | 20
MARSEP | Si | Silicon | 70 | g/kg | AE | Inorganic Chemical Composition | 0 - 5000
MARSEP | Sn | Tin | 71 | mg/kg | AE | Inorganic Chemical Composition | 0 - 100 |  |  | 0.8 | 15
MARSEP | Sr | Strontium | 72 | mg/kg | AE | Inorganic Chemical Composition | 0 - 500 |  |  | 2 | 15
MARSEP | Th | Thorium | 84 | mg/kg | AE | Inorganic Chemical Composition | 0 - 0.2
MARSEP | Ti | Titanium | 73 | mg/kg | AE | Inorganic Chemical Composition | 0 - 2500
MARSEP | Tl | Thallium | 83 | µg/kg | AE | Inorganic Chemical Composition | 0 - 1500 |  |  | 0 | 0
MARSEP | U | Uranium | 85 | mg/kg | AE | Inorganic Chemical Composition | 0 - 4
MARSEP | V | Vanadium | 74 | mg/kg | AE | Inorganic Chemical Composition | 0 - 50 |  |  | 0.15 | 20
MARSEP | Zn | Zinc | 75 | mg/kg | AE | Inorganic Chemical Composition | 0 - 2500 |  |  | 4 | 6
MARSEP | AOX | Adsorbable Organic Halides | 76 | mg/kg | OD | Other determinations | 0 - 1750 |  |  | 9 | 6
MARSEP | loss-on-ignition | L.O.I. | 77 | % | OD | Other determinations | 0 - 95 |  |  | 0.9 | 0
MARSEP | residue-on-ignition | R.O.I. | 87 | % | OD | Other determinations | 5 - 90
MARSEP | COD | Chemical Oxygen Demand | 88 | g/kg | OD | Other determinations | 200 - 1000
MARSEP | mineral oil | mineral oil | 89 | g/kg | OD | Other determinations | 0 - 20
MARSEP | dry weight | dry weight | 90 | % | OD | Other determinations | 85 - 98 |  |  | 1 | 0
PFAS | PFBA | Perfluorobutanoic Acid | 1 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFPeA | Perfluoro-n-pentanoic Acid | 2 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFHxA | Perfluorohexanoic Acid | 3 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFHpA | Perfluoroheptanoic Acid | 4 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFOA (linear) | Perfluorooctanoic Acid | 5 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFOA (branched) | Perfluorooctanoic Acid | 6 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | sum PFOA (0.7 factor) | Perfluorooctanoic acid | 7 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFNA | Perfluorononanoic Acid | 8 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFDA | Perfluorodecanoic Acid | 9 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFUnDA | Perfluoroundecanoic Acid | 10 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFDoA | Perfluorododecanoic Acid | 11 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFTrDA | Perfluorotridecanoic Acid | 12 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFTeDA | Perfluorotetradecanoic Acid | 13 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFHxDA | Perfluorohexadecanoic acid | 14 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFODA | Perfluorooctadecanoic Acid | 15 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFBS | Perfluorobutanesulfonic acid | 16 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFPeS | perfluoropolyethers | 17 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFHxS | Perfluorohexanesulfonate | 18 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFHpS | Perfluorohexanesulfonate | 19 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFOS (linear) | Perfluorooctanesulfonate | 20 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFOS (branched) | Perfluorooctanesulfonate | 21 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | sum PFOS (0.7 factor) | Perfluorooctanoic acid | 22 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFDS | Perfluorododecanesulfonate | 23 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | 4:2 FTS | 4:2 fluortelomer sulfonic acid | 24 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | 6:2 FTS | 6:2 fluortelomer sulfonic acid | 25 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | 8:2 FTS | 8:2 fluortelomer sulfonic acid | 26 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | 10:2 FTS | 10:2 fluortelomer sulfonic acid | 27 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | N-MeFOSAA | N-methyl Perfluorooctane Sulfonamido Acetic Acid | 28 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | N-EtFOSAA | N-ethyl Perfluorooctane Sulfonamido Acetic Acid | 29 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | PFOSA | Perfluorooctanesulfonamide | 30 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | N-MeFOSA | N-Methylperfluorooctanesulfonamide | 31 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | 8:2 diPAP | 8:2 fluorotelomer phosphate diester | 32 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
PFAS | HFPO-DA | 2,3,3,3-tetrafluoro-2-(heptafluoropropoxy)-propanoic acid | 33 | ug/kg | PFASs | Per- and Polyfluoroalkyl substances
SETOC | acenaphthene | ANA | 3 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 20000 |  |  | 5 | 22.5
SETOC | acenaphthylene | ANY | 2 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 2000 |  |  | 2 | 25
SETOC | anthracene | ANT | 6 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 6000 |  |  | 8 | 22.5
SETOC | benz(a)anthracene | B(a)A | 10 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 10000 |  |  | 14 | 17.5
SETOC | benzo(a)pyrene | B(a)P | 13 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 7500 |  |  | 20 | 17.5
SETOC | benzo(b)fluoranthene | B(b)F | 11 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 10000 |  |  | 20 | 25
SETOC | benzo(ghi)perylene | B(ghi)PE | 16 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 5000 |  |  | 5 | 17.5
SETOC | benzo(k)fluoranthene | B(k)F | 12 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 5000 |  |  | 15 | 17.5
SETOC | chrysene | CHR | 9 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 10000 |  |  | 20 | 20
SETOC | dibenz(ah)anthracene | DB(ah)A | 14 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 1500 |  |  | 4 | 25
SETOC | fluoranthene | FLT | 7 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 30000 |  |  | 25 | 15
SETOC | fluorene | FLU | 4 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 20000 |  |  | 6 | 25
SETOC | indeno(1,2,3-cd)pyrene | IPY | 15 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 7500 |  |  | 5 | 20
SETOC | naphthalene | NAP | 1 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 5000 |  |  | 7 | 25
SETOC | phenanthrene | PHE | 5 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 40000 |  |  | 20 | 17.5
SETOC | pyrene | PYR | 8 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 20000 |  |  | 30 | 15
SETOC | EPA ∑PAH(16) | 16 PAH's ranked by U.S. Environmental Protection Agency | 244 | µg/kg | PAH | Polycyclic aromatic hydrocarbons | 0 - 100000 |  |  | 210 | 15
SETOC | VROM∑PAH10 | Sum 10 PAH's ranked by VROM | 296 | µg/kg | PAH | Polycyclic aromatic hydrocarbons
SETOC | PCB 028 | Polychlorobiphenyl | 31 | µg/kg | PCB | Polychlorobiphenyls | 0 - |  |  | 0.5 | 25
SETOC | PCB 031 | Polychlorobiphenyl | 32 | µg/kg | PCB | Polychlorobiphenyls
SETOC | PCB 052 | Polychlorobiphenyl | 33 | µg/kg | PCB | Polychlorobiphenyls | 0 - |  |  | 1 | 22.5
SETOC | PCB 077 | Polychlorobiphenyl | 201 | µg/kg | PCB | Polychlorobiphenyls | 0 - 10 |  |  | 0 | 25
SETOC | PCB 081 | Polychlorobiphenyl | 202 | µg/kg | PCB | Polychlorobiphenyls
SETOC | PCB 101 | Polychlorobiphenyl | 34 | µg/kg | PCB | Polychlorobiphenyls | 0 - 500 |  |  | 0.5 | 22.5
SETOC | PCB 105 | Polychlorobiphenyl | 35 | µg/kg | PCB | Polychlorobiphenyls | 0 - 50 |  |  | 0.5 | 15
SETOC | PCB 114 | Polychlorobiphenyl | 203 | µg/kg | PCB | Polychlorobiphenyls
SETOC | PCB 118 | Polychlorobiphenyl | 36 | µg/kg | PCB | Polychlorobiphenyls | 0 - |  |  | 0.5 | 20
SETOC | PCB 123 | Polychlorobiphenyl | 204 | µg/kg | PCB | Polychlorobiphenyls | 0 - 20
SETOC | PCB 126 | Polychlorobiphenyl | 205 | µg/kg | PCB | Polychlorobiphenyls
SETOC | PCB 128 | Polychlorobiphenyl | 37 | µg/kg | PCB | Polychlorobiphenyls | 0 - 20 |  |  | 0.5 | 25
SETOC | PCB 138 | Polychlorobiphenyl | 38 | µg/kg | PCB | Polychlorobiphenyls | 0 - |  |  | 1 | 25
SETOC | PCB 149 | Polychlorobiphenyl | 39 | µg/kg | PCB | Polychlorobiphenyls | 0 - 100 |  |  | 0 | 22.5
SETOC | PCB 153 | Polychlorobiphenyl | 40 | µg/kg | PCB | Polychlorobiphenyls | 0 - |  |  | 1 | 20
SETOC | PCB 156 | Polychlorobiphenyl | 41 | µg/kg | PCB | Polychlorobiphenyls | 0 - 10 |  |  | 1 | 22.5
SETOC | PCB 157 | Polychlorobiphenyl | 206 | µg/kg | PCB | Polychlorobiphenyls
SETOC | PCB 167 | Polychlorobiphenyl | 207 | µg/kg | PCB | Polychlorobiphenyls | 0 - 5
SETOC | PCB 169 | Polychlorobiphenyl | 208 | µg/kg | PCB | Polychlorobiphenyls
SETOC | PCB 180 | Polychlorobiphenyl | 42 | µg/kg | PCB | Polychlorobiphenyls | 0 - |  |  | 1 | 20
SETOC | PCB 189 | Polychlorobiphenyl | 209 | µg/kg | PCB | Polychlorobiphenyls
SETOC | ∑PCB(7) | Sum of the 7 indicator PCB congeners 28, 52, 101, 118, 138, 153, 180 | 245 | µg/kg | PCB | Polychlorobiphenyls | 0 - 1200 |  |  | 4 | 17.5
SETOC | 1,2,3 trichlorobenzene | 1,2,3 trichlorobenzene | 54 | µg/kg | OCB | Organochlorine pesticides
SETOC | 1,2,4 trichlorobenzene | 1,2,4 trichlorobenzene | 56 | µg/kg | OCB | Organochlorine pesticides
SETOC | 1,3,5 trichlorobenzene | 1,3,5 trichlorobenzene | 57 | µg/kg | OCB | Organochlorine pesticides
SETOC | Sum trichlorobenzenes | Sum trichlorobenzenes | 99 | µg/kg | OCB | Organochlorine pesticides
SETOC | 1,2,3,4 tetrachlorobenzene | 1,2,3,4 tetrachlorobenzene | 55 | µg/kg | OCB | Organochlorine pesticides | 0 - 20 |  |  | 3 | 25
SETOC | 1,2,3,5 tetrachlorobenzene | 1,2,3,5 tetrachlorobenzene | 58 | µg/kg | OCB | Organochlorine pesticides
SETOC | 1,2,4,5 tetrachlorobenzene | 1,2,4,5 tetrachlorobenzene | 59 | µg/kg | OCB | Organochlorine pesticides
SETOC | Sum tetrachlorobenzenes | Sum tetrachlorobenzenes | 100 | µg/kg | OCB | Organochlorine pesticides
SETOC | aldrin | aldrin | 71 | µg/kg | OCB | Organochlorine pesticides | 0 - 500
SETOC | alpha-endosulfan | alpha-endosulfan | 79 | µg/kg | OCB | Organochlorine pesticides
SETOC | alpha-HCH | alpha-HCH | 61 | µg/kg | OCB | Organochlorine pesticides | 0 - 500 |  |  | 0.5 | 25
SETOC | beta-endosulfan | β-endosulfan | 80 | µg/kg | OCB | Organochlorine pesticides
SETOC | beta-HCH | β-Hexachlorocyclohexane | 62 | µg/kg | OCB | Organochlorine pesticides | 0 - 50 |  |  | 0.5 | 25
SETOC | chlordane | Chlordane | 76 | µg/kg | OCB | Organochlorine pesticides
SETOC | cis-chlordane | cis-chlordane | 74 | µg/kg | OCB | Organochlorine pesticides | 0 - 50
SETOC | delta-HCH | delta-Hexachlorocyclohexane | 64 | µg/kg | OCB | Organochlorine pesticides
SETOC | dieldrin | dieldrin | 72 | µg/kg | OCB | Organochlorine pesticides | 0 - 5000 |  |  | 2 | 25
SETOC | endosulfan | endosulfan | 81 | µg/kg | OCB | Organochlorine pesticides
SETOC | endosulfan sulfate | endosulfan sulfate | 82 | µg/kg | OCB | Organochlorine pesticides
SETOC | endrin | endrin | 73 | µg/kg | OCB | Organochlorine pesticides | 0 - 750
SETOC | gamma-HCH | gamma-Hexachlorocyclohexane | 63 | µg/kg | OCB | Organochlorine pesticides
SETOC | heptachlor | heptachlor | 77 | µg/kg | OCB | Organochlorine pesticides
SETOC | heptachlor epoxide | heptachlor epoxide | 78 | µg/kg | OCB | Organochlorine pesticides
SETOC | hexachlorobenzene | hexachlorobenzene | 52 | µg/kg | OCB | Organochlorine pesticides | 0 - 3000 |  |  | 0 | 25
SETOC | hexachlorobutadiene | hexachlorobutadiene | 51 | µg/kg | OCB | Organochlorine pesticides | 0 - 25 |  |  | 1 | 25
SETOC | isodrin | isodrin | 65 | µg/kg | OCB | Organochlorine pesticides | 0 - 75
SETOC | o,p`-DDD | 2,4 DDD / Dichlorodiphenyldichloroethane | 96 | µg/kg | OCB | Organochlorine pesticides | 0 - 1000 |  |  | 1 | 25
SETOC | o,p`-DDE | 2,4 DDE / Dichlorophenyldichloroethene | 94 | µg/kg | OCB | Organochlorine pesticides | 0 - 50 |  |  | 0.5 | 25
SETOC | o,p`-DDT | 2,4 DDT / Dichlorophenyltrichloroethane | 92 | µg/kg | OCB | Organochlorine pesticides | 0 - 2000 |  |  | 1 | 25
SETOC | p,p`-DDD | 4,4 DDD / Dichlorodiphenyldichloroethane | 95 | µg/kg | OCB | Organochlorine pesticides | 0 - 2500 |  |  | 0.5 | 25
SETOC | p,p`-DDE | 4,4 DDE / Dichlorophenyldichloroethene | 93 | µg/kg | OCB | Organochlorine pesticides | 0 - 750 |  |  | 0.5 | 25
SETOC | p,p`-DDT | 4,4 DDT / Dichlorophenyltrichloroethane | 91 | µg/kg | OCB | Organochlorine pesticides | 0 - 7500 |  |  | 2 | 25
SETOC | pentachlorobenzene | pentachlorobenzene | 53 | µg/kg | OCB | Organochlorine pesticides | 0 - 120 |  |  | 0.5 | 25
SETOC | pentachlorophenol | pentachlorophenol | 101 | µg/kg | OCB | Organochlorine pesticides
SETOC | telodrin | Telodrin | 83 | µg/kg | OCB | Organochlorine pesticides
SETOC | toxaphene | toxaphene | 84 | µg/kg | OCB | Organochlorine pesticides
SETOC | trans-chlordane | trans-chlordane | 75 | µg/kg | OCB | Organochlorine pesticides
SETOC | AOX | Adsorbable Organic Halides | 118 | mg/kg | OD | Other parameters | 0 - 750
SETOC | CN - Free | Free Cyanide | 139 | mg/kg | OD | Other parameters | 0 - 5 |  |  | 0 | 25
SETOC | CN-complex | Cyanide complex | 300 | mg/kg | OD | Other parameters
SETOC | CN - Total | Total Cyanide | 138 | mg/kg | OD | Other parameters | 0 - 1000 |  |  | 0.5 | 15
SETOC | EOX | EOX | 119 | mg/kg | OD | Other parameters | 0 - 1000 |  |  | 0 | 25
SETOC | Inorganic carbon | Inorganic carbon | 121 | g/kg | OD | Other parameters | 0 - 50 |  |  | 1 | 25
SETOC | Organic carbon | Organic carbon | 120 | g/kg | OD | Other parameters | 0 - 500 |  |  | 3 | 12.5
SETOC | Mineral oil, GC | Mineral oil, Gas Chromatography | 112 | mg/kg | OD | Other parameters | 0 - 3500 |  |  | 25 | 22.5
SETOC | Mineral oil, IR | Mineral oil, Infra Red detection | 111 | mg/kg | OD | Other parameters | 0 - 2500
SETOC | Particles < 2 µm | Particles < 2 µm | 130 | % | OD | Other parameters | 0 - 50 |  |  | 5 | 7.5
SETOC | Particles < 16 µm | Particle size < 16 µm | 297 | % | OD | Other parameters
SETOC | Particles < 50 µm | Particle size < 50 µm | 298 | % | OD | Other parameters
SETOC | Particles < 63 µm | Particles < 63 µm | 131 | % | OD | Other parameters | 0 - 150 |  |  | 9 | 20
SETOC | Particles > 63 µm | Particles > 63 µm | 132 | % | OD | Other parameters
SETOC | Particles < 2000 µm | Particle size < 2000 µm | 299 | % | OD | Other parameters
SETOC | As | Arsenic | 140 | mg/kg | MET | Metals | 0 - 75 |  |  | 1 | 10
SETOC | Ba | Barium | 241 | mg/kg | MET | Metals | 0 - 1200 |  |  | 15 | 12.5
SETOC | Cd | Cadmium | 141 | mg/kg | MET | Metals | 0 - 20 |  |  | 0.1 | 10
SETOC | Co | Cobalt | 242 | mg/kg | MET | Metals | 0 - 25 |  |  | 0.5 | 12.5
SETOC | Cr | Chromium | 142 | mg/kg | MET | Metals | 0 - 2000 |  |  | 7 | 15
SETOC | Cu | Copper | 143 | mg/kg | MET | Metals | 0 - 750 |  |  | 2 | 10
SETOC | Hg | Mercury | 144 | mg/kg | MET | Metals | 0 - 100 |  |  | 0 | 10
SETOC | Mo | Molybdenum | 243 | mg/kg | MET | Metals | 0 - 7.5 |  |  | 0.2 | 12.5
SETOC | Ni | Nickel | 145 | mg/kg | MET | Metals | 0 - 250 |  |  | 1 | 12.5
SETOC | Pb | Lead | 146 | mg/kg | MET | Metals | 0 - 2000 |  |  | 4 | 10
SETOC | Sb | Antimony | 301 | mg/kg | MET | Metals
SETOC | Sn | Tin | 302 | mg/kg | MET | Metals
SETOC | V | Vanadium | 303 | mg/kg | MET | Metals
SETOC | Zn | Zinc | 147 | mg/kg | MET | Metals | 0 - 6000 |  |  | 8 | 10
SETOC | 1,2,3,4,6,7,8 Cl7DD | 1,2,3,4,6,7,8-Heptachlorodibenzodioxin | 155 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 2 |  |  | 16 | 15
SETOC | 1,2,3,4,7,8 Cl6DD | 1,2,3,4,7,8 Hexachlorodibenzodioxin | 152 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 60 |  |  | 0.3 | 25
SETOC | 1,2,3,6,7,8 Cl6DD | 1,2,3,6,7,8 Hexachlorodibenzodioxin | 154 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 500 |  |  | 1 | 15
SETOC | 1,2,3,7,8 Cl5DD | 1,2,3,7,8 Pentachlorodibenzodioxin | 151 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 50 |  |  | 0 | 25
SETOC | 1,2,3,7,8,9 Cl6DD | 1,2,3,7,8,9 Hexachlorodibenzodioxin | 153 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 75 |  |  | 1 | 20
SETOC | 2,3,7,8 Cl4DD | 2,3,7,8 Tetrachlorodibenzodioxin | 150 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 200 |  |  | 3 | 10
SETOC | Cl8DD | Octachlorodibenzo-p-dioxin / OCDD | 156 | ng/kg | DD | Dibenzo-P Dioxin | 0 - 4 |  |  | 100 | 20
SETOC | 1,2,3,4,6,7,8 Cl7DF | 1,2,3,4,6,7,8-Heptachlorodibenzofuran | 164 | ng/kg | DF | Dibenzofuran | 0 - 10000 |  |  | 30 | 10
SETOC | 1,2,3,4,7,8 Cl6DF | 1,2,3,4,6,7,8-Hexachlorodibenzofuran | 160 | ng/kg | DF | Dibenzofuran | 0 - 10000 |  |  | 4 | 25
SETOC | 1,2,3,4,7,8,9 Cl7DF | 1,2,3,4,7,8,9 Cl7DF | 165 | ng/kg | DF | Dibenzofuran | 0 - 2000 |  |  | 0.5 | 15
SETOC | 1,2,3,6,7,8 Cl6DF | 1,2,3,6,7,8 Hexachlorodibenzofuran | 162 | ng/kg | DF | Dibenzofuran | 0 - 2500 |  |  | 2 | 22.5
SETOC | 1,2,3,7,8 Cl5DF | 1,2,3,7,8 Pentachlorodibenzofuran | 159 | ng/kg | DF | Dibenzofuran | 0 - 10000 |  |  | 0 | 25
SETOC | 1,2,3,7,8,9 Cl6DF | 1,2,3,7,8,9 Hexachlorodibenzofuran | 161 | ng/kg | DF | Dibenzofuran | 0 - 1500
SETOC | 2,3,4,6,7,8 Cl6DF | 2,3,4,6,7,8 Hexachlorodibenzofuran | 163 | ng/kg | DF | Dibenzofuran | 0 - 1500 |  |  | 0 | 25
SETOC | 2,3,4,7,8 Cl5DF | 2,3,4,7,8 Pentachlorodibenzofuran | 158 | ng/kg | DF | Dibenzofuran | 0 - 10000 |  |  | 0 | 25
SETOC | 2,3,7,8 Cl4DF | 2,3,7,8 Tetrachlorodibenzofuran | 157 | ng/kg | DF | Dibenzofuran |  |  |  | 1 | 25
SETOC | Cl8DF | Octachlorodibenzo-p-furan / OCDF | 166 | ng/kg | DF | Dibenzofuran | 0 - 30000 |  |  | 30 | 22.5
SETOC | BDE 028 | 2,4,4′-Tribromodiphenyl ether | 221 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 047 | 2,2′,4,4′-Tetrabromodiphenyl ether | 222 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 066 | 2,3′,4,4′-Tetrabromodiphenyl ether | 223 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 085 | 2,2',3,4,4'-Pentabromodiphenyl ether | 224 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 099 | 2,2′,4,4′,5-Pentabromodiphenyl ether | 225 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 100 | 2,2′,4,4′,6-Pentabromodiphenyl ether | 226 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 153 | 2,2′,4,4′,5,5′-Hexabromodiphenyl ether | 227 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 154 | 2,2′,4,4′,5,6′-Hexabromodiphenyl ether | 228 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 183 | 2,2′,3,4,4′,5′,6-Heptabromodiphenyl ether | 229 | ng/kg | BFR | Brominated Flame Retardants
SETOC | BDE 209 | Decabromodiphenyl ether | 230 | ng/kg | BFR | Brominated Flame Retardants
SETOC | DEHP | Bis(2-ethylhexyl) phthalate | 171 | µg/kg | EXP | Experimental
SETOC | Tributyl Tin (TBT) | Tributyl Tin (TBT) | 170 | µg/kg | EXP | Experimental

## Measurands_Rangenames
program | RangeNr | RangeName
BIMEP | 1 | concentration range
IPE | 1 | concentration range
ISE | 1 | concentration range
MARSEP | 1 | concentration range
PEP | 1 | concentration range
PFAS | 1 | concentration range
SETOC | 1 | concentration range